| PROJECT TITLE | : | PROVISION OF LEASE, OPERATE AND MAINTAIN (O&M) OF FLOATING PRODUCTION UNIT (FPU) FOR KELIDANG CLUSTER DEVELOPMENT PROJECT |
| --- | --- | --- |
| COMPANY | : | PETRONAS CARIGALI BRUNEI LTD |
| CONTRACT NO | : | PCBL/2023/PROJECT/003 |
| DOCUMENT TITLE | : | TECHNICAL REQUISITION PACKAGE - THE PROVISION OF EMERGENCY DIESEL GENERATOR |
| DOCUMENT REVIEW CLASSIFICATION | : | X |
| SECURITY CLASSIFICATION | : | OPEN |

| A0 | 08.05.2026 | Internal Discipline Check | HSN | HHK | HHK |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| REV | DATE | DESCRIPTION | PREPARED | REVIEWED | APPROVED | REVIEWED | VERIFIED | ACKN’D |
|  |  |  | CONTRACTOR |  |  | OWNER |  |  |

RECORDS OF CHANGES

| REV | DATE | SECTION | DETAILS OF CHANGE | AFFECTED PAGE |
| --- | --- | --- | --- | --- |

This sheet must be completed in detail at each revision once this document has been approved. Details must include revision number, description and indication of which pages and paragraphs have been revised.

Notes:

- Document Holders to update RECORDS OF CHANGES as and when amendments/new revisions are received.

- For description of amendment the Document Holder should indicate correction, modification, and update or deletion issue.

TABLE OF CONTENTS

1	PROJECT BACKGROUND	4

1.1	DOCUMENT SCOPE	4

2	EXHIBIT A – SCOPE OF WORK	5

3	EXHIBIT B – SPECIFICATION	6

3.1	APPLICABLE DOCUMENTS	6

4	ATTACHMENTS	8

4.1	ATTACHMENT A – TECHNICAL PROPOSAL	8

4.2	ATTACHMENT B - TECHNICAL DEVIATIONS / EXCEPTIONS	8

4.3	ATTACHMENT C - TECHNICAL CLARIFICATIONS	8

4.4	ATTACHMENT D – KICK-OFF / MINUTES OF MEETINGS	8

4.5	ATTACHMENT E – OTHER DOCUMENTS	8

# PROJECT BACKGROUND

MISC Berhad (hereinafter referred to as CONTRACTOR) has been contracted by PETRONAS Carigali Brunei Limited (PCBL or hereinafter referred to as COMPANY) for the provision of Lease, Operate and Maintain (O&M) of Floating Production Unit (FPU) for Kelidang Cluster Development Project. The FPU to be installed 150km offshore at water depth of approximately 1,800 - 2,200 meters.

## DOCUMENT SCOPE

The purpose of this document is to define the scope of work, specifications and requirements for the provision of the Emergency Diesel Generator for FPU Kelidang project.

# EXHIBIT A – SCOPE OF WORK

This section outlines the scope of work for the Provision of the Emergency Diesel Generator for FPU Kelidang project as per below document.

Scope of Work

| No. | Document Title | Document No. | Rev. |
| --- | --- | --- | --- |
| 1.0 | Equipment / Package Scope of Work |  |  |
| 1.1 | Emergency Diesel Generator Scope of Work | KLD-NVOE-MSE-SOW-3076EG-30001- | A0 |

# EXHIBIT B – SPECIFICATION

## APPLICABLE DOCUMENTS

This section tabulates the list of specifications and requirements for the provision of Emergency Diesel Generator for FPU Kelidang project.

List of Applicable Documents

| No. | Document Title | Document No. | Rev. |
| --- | --- | --- | --- |
| 1.0 | Equipment / Package Specifications |  |  |
| 1.1 | Emergency Diesel Generator Specification | KLD-NVOE-MSE-SPN-3076EG-30001- | A0 |
| 1.2 |  |  |  |
| 2.0 | Technical Datasheets |  |  |
| 2.1 | Emergency Diesel Generator Datasheet | KLD-NVOE-MSE-TDS-3076EG-30001- | A0 |
| 2.2 |  |  |  |
| 3.0 | Project Specifications / Requirements |  |  |
| 3.1 | FPU KLD Tagging Procedure | KLD-MISC-ENG-PRC-1000ZZ-30003 | B1 |
| 3.2 | FPU Design Basis | KLD-MISC-ENG-BOD-1000ZZ-00001 | C0 |
| 3.3 | FPU Functional Specification | KLD-MISC-PMG-SPN-1000ZZ-00001 | C0 |
| 3.4 | Marine System Basis of Design (HOLD) | KLD-MISC-MSE-BOD-3000ZZ-00001 | C0 |
| 3.5 | Hull Mechanical Design Basis (HOLD) | KLD-MISC-MSE-BOD-3000ZZ-00002 | C0 |
| 3.6 | General Specification for Equipment and Packages Specification (HOLD) | KLD-MISC-MSE-SPN-3000ZZ-00001 | C0 |
| 3.7 | Painting Specification | KLD-MISC-MAT-SPN-1000ZZ-00001 | C0 |
| 3.8 | Material Selection Report | KLD-MISC-MAT-RPT-1000ZZ-00001 | C0 |
| 3.9 | Material Handling Philosophy | KLD-MISC-MEC-PHI-2000ZZ-00001 | C0 |
| 3.10 | Project Document Numbering Procedure | KLD-MISC-PDC-PRC-1000ZZ-30002 | C0 |
| 3.11 | FPU Hazardous Area Classification Layout | KLD-MISC-TSA-DWG-1000ZZ-00001 | C0 |
| 3.12 | FPU Escape Route Layout | KLD-MISC-TSA-DWG-1000ZZ-00002 | C0 |
| 3.13 | Health, Safety, Security and Environment (HSSE) Philosophy | KLD-MISC-TSA-PHI-1000ZZ-00001 | C0 |
| 3.14 | FPU Process Design Basis | KLD-MISC-PRO-BOD-2000ZZ-00001 | C0 |
| 4.0 | Drawings |  |  |
| 4.1 | Main Machinery General Arrangement – Main Deck Engine Casing | KLD-MISC-MSE-DWG-3000ZZ-30004 | C0 |
| 4.2 | FPU Electrical Overall Single Line Diagram | KLD-MISC-ELE-SLD-1081ZZ-00001 | C0 |
| 5.0 | Inspection, Testing and Quality Requirements |  |  |
| 5.1 |  |  |  |
| 5.2 |  |  |  |
| 6.0 | Information Requirement |  |  |
| 6.1 |  |  |  |
| 6.2 |  |  |  |
| 7.0 | Others |  |  |

# ATTACHMENTS

Below attachments will be issued as Issued for Final (IFF) incorporating mutually agreed technical deviations and clarifications from the successful CONTRACTOR.

This section is compilation of successful CONTRACTOR technical proposal and various related documents during bidding for the scope of work or supply of equipment and services.

## ATTACHMENT A – TECHNICAL PROPOSAL

## ATTACHMENT B - TECHNICAL DEVIATIONS / EXCEPTIONS

Refer Attachment 1 – Technical Deviations / Exceptions [Template]

## ATTACHMENT C - TECHNICAL CLARIFICATIONS

Refer Attachment 2 - Technical Clarification [Template]

## ATTACHMENT D – KICK-OFF / MINUTES OF MEETINGS

Refer Attachment 3 – KOM / MOM [Template]

## ATTACHMENT E – OTHER DOCUMENTS

Refer Attachment 4 – CONTRACTOR / Vendor Document Master List (VDML) [Template]